## Blank
Chiller Model Selection (Inquiry)
*Please select your requirement "✓" in checkbox.
Customer (Company) :
Project Name :
Date of PO issue :
Date of LOA to Contractor :
Date of LOA to Chiller Manufacturer :
Date of Arriving at Site :
Date of Commissioning :
Chiller Quantity :
|  |  | Drive Speed : |  | Constant |  |  | Inverter (Variable Speed)
|  |  | Chiller Made : |  | China |  |  | Japan (If Japan made, please select standard : JIS /AHRI)
|  |  | Type of Water : |  | Water |  |  | Ethylene Glycol |  | Others ( _______ )
( _______%)
Project Information
Main Contractor :
End User :
Project Location :
|  | Detailed use : |  | Hotel |  |  | Hospital |  | DCP |  | Others ( _____ )
|  | Use for : |  | Normal Air Conditioning |  |  |  |  | District Heating
|  |  |  | Factory Process |  |  |  |  | Factory Air Conditioning
Basic Specification
|  |  | Mode 1 |  | Mode 2
|  | Cooling Capacity : |  |  |  |  | USRT |  |  | Main Power Source : | Φ v Hz
|  | Chilled Water (Inlet temp) : |  |  |  |  | °C |  |  | eg. | (3 Φ 400 v 50 Hz)
|  | Chilled Water (Outlet temp) : |  |  |  |  | °C |  |  | Auxiliary Power Source : | Φ v Hz
|  | Cooling Water (Inlet temp) : |  |  |  |  | °C |  |  | Starter Method :
|  | Cooling Water (Outlet temp) : |  |  |  |  | °C |  |  | Refrigerant Type :
|  | Target COP : | [7 empty] | : |  | by Toyo CR
|  | Target kW per Ton : |  |  |  |  | kW/RT |  |  | : |  | by Client
|  | Installation Place : |  | Indoor |  |  |  | Outdoor
|  | Installation Location : |  | New Location |  |  |  | Existing Building
|  | Installation Chiller : |  | New Chiller |  |  |  | Replacement Chiller
|  | Cold Insulation : | Toyo CR
Additional Specification
1 | ( _____ nos chiller) Witness Test |  |  |  |  | *( ____ points) shall be carried out. MTH Standard 1 point.
2 | ( _____ nos chiller) Shop Test |  |  |  |  | *( ____ points) shall be carried out. MTH Standard 3 points.
3 | Remaining ( _____ nos chiller) are Mechanical running Test.
4 | Chilled Water variable flow is | [6 empty] | Required |  | Not Required
5 | Cooling Water variable flow is | [6 empty] | Required |  | Not Required
6 | Instantaneous auto-restart function is | [6 empty] | Required |  | Not Required
7 | Modbus Communication (iSCT) is | [6 empty] | Required |  | Not Required
8 | Starter Panel is | [6 empty] | Required |  | Not Required
9 | DOSH is | [6 empty] | Required |  | Not Required
10 | Tolerance for COP & Cooling Capacity | [6 empty] | Standard |  | Zero Tolerance
11 | Type of delivery at site | [6 empty] | Whole |  | Divided ( 2 or 3 parts )
Special Request
eg. Other specification requirement, additional documents, supervisor for divided chiller or etc.
Purpose :
To check chiller delivery schedule.
If don't have actual date, please provide estimated schedule.